## NEO24SC-C
ComfortStar Model Number:NEO24SC-C
Power Supply：208~230V/60Hz/1PH
No. | Part Name | Quantity | PART# | Remark
1 | Rear cover | 1 | 801224390011
2 | Chassis assembly | 1 | 801224390018
3 | E-part box cover | 1 | 801225590014
4 | E-part box mat | 1 | 802225590008
5 | Main control board | 1 | 803323790008
5.1 | E-Parts box | 1 | 801225590013
5.2 | Indoor PCB | 1 | 803300300865
5.3 | Fan capacitor | 1 | 802401100002
5.4 | Transformer | 1 | 802300200068
5.5 | Temperature sensors（indoor ) | 1 | 802300400086
5.6 | Terminal | 1 | 802425000001
6 | Left sealplate | 1 | 801125590028
7 | Left cover | 1 | 801125590027
8 | Left hoisting pate | 1 | 801225590005
9 | Lelf separating board Ⅰ | 1 | 801225590048
10 | Motor separating board | 1 | 801225590009
11 | Wheel volute for slim type | 3 | 801225590044
12 | Indoor fan motor | 1 | 802400400354
13 | Air inlet grille | 2 | 801124300005
14 | Top Cover component | 1 | 801224390005
15 | Weld assembly of Water drain pan | 1 | 801224390004
15.1 | Water outlet rubber cover | 1 | 802725500002
16 | Supporting board for motor | 1 | 801224390020
17 | Weld assembly for intermediate transverse girder | 1 | 801224390019
18 | Right mounting plate of evaporator | 1 | 801225590030
19 | Right cover | 1 | 801125590025
20 | Right sealplate | 1 | 801125590026
21 | Right separating board | 1 | 801225590049
22 | Evaporator component | 1 | 801523790013
22.1 | Left mounting plate of evaporator | 1 | 801224390021
22.2 | Shunt capillary assembly | 1 | 801623790014
22.3 | One-way throttle | 1 | 801600300056
22.4 | Air inlet header pipe assembly of evaporator | 1 | 801623790017
22.5 | Single Connector | 1 | 801619900103
22.6 | Evaporator assembly | 1 | 801523790014
22.7 | Right mounting plate of evaporator | 1 | 801225590030
22.8 | Temperature sensors (evaporator ) | 1 | 802300400085
23 | Air out frame assy | 1 | 801124390001
23.1 | Fixing board assembly for air_out frame | 1 | 801224390022
23.2 | Display film | 1 | 802025590035
23.3 | Display lamp panel | 1 | 803325590003
23.4 | Vertical step motor | 1 | 802425400001
23.5 | Horizontal step motor | 1 | 802425400003
23.6 | End bearing of louver | 2 | 801125590012
23.7 | Intermediate bearing of louver | 8 | 801125590015
23.8 | Driving lever for louver | 1 | 801125590016
23.9 | Follower lever for louver | 1 | 801125590011
23.10 | Louver holder | 1 | 801125590013
23.11 | Guard vane | 10 | 801125590017
24 | Upper horizontal louver | 1 | 801124300007
25 | Down horizontal louver | 1 | 801124300009

## NEO36SC-C
ComfortStar Model Number:NEO36SC-C
Power Supply：208~230V/60Hz/1PH
No. | Part Name | Quantity | PART# | Remark
1 | Rear cover | 1 | 801224390056
2 | Chassis assembly | 1 | 801224390018
3 | E-part box cover | 1 | 801225590014
5 | Indoor PCB assembly | 1 | 803324390010
5.1 | E-part box | 1 | 801225590111
5.2 | Indoor PCB | 1 | 803300300865
5.3 | Fan capacitor | 1 | 802401100002
5.4 | Transformer | 1 | 802300200068
5.5 | Temperature sensors（indoor ) | 1 | 802300400086
5.6 | Terminal | 1 | 802425000001
6 | Left sealplate | 1 | 801125590028
7 | Left cover | 1 | 801125590027
8 | Left hoisting pate | 1 | 801225590005
9 | Lelf separating board Ⅰ | 1 | 801225590048
10 | Motor separating board | 1 | 801225590009
11 | Wheel volute for slim type | 3 | 801125590033
12 | Indoor fan motor | 1 | 802400400351
13 | Air inlet grille | 2 | 801124300005
14 | Top Cover assembly | 1 | 801224390005
15 | Weld assembly of Water drain pan | 1 | 801224390017
15.1 | Water outlet rubber cover | 1 | 802725500002
16 | Supporting board for motor | 1 | 801224390020
17 | Weld assembly for intermediate transverse girder | 1 | 801224390019
18 | Right mounting plate of evaporator | 1 | 801225590030
19 | Right cover | 1 | 801125590025
20 | Right sealplate | 1 | 801125590026
21 | Right separating board | 1 | 801225590049
22 | Evaporator component | 1 | 801524390024
22.1 | Left mounting plate of evaporator | 1 | 801224390021
22.2 | Shunt capillary assembly | 1 | 801624390031
22.3 | One-way throttle | 1 | 801600300067
22.4 | Distributor | 1 | 801601300040
22.5 | Air inlet header pipe assembly of evaporator | 1 | 801624390028
22.6 | Single Connector | 1 | 801619900104
22.7 | Evaporator assembly | 1 | 801524390025
22.9 | Temperature sensors (evaporator ) | 1 | 802300400135
23 | Air-out frame component | 1 | 801124390001
23.1 | Fixing board assembly for air-out frame | 1 | 801224390022
23.2 | Display film | 1 | 802025590035
23.3 | Display lamp panel | 1 | 803325590003
23.4 | Vertical step motor | 1 | 802425400001
23.5 | Horizontal step motor | 1 | 802425400003
23.6 | Endbearing of louver | 2 | 801125590012
23.7 | Intermediate bearing of louver | 8 | 801125590015
23.8 | Driving lever for louver | 1 | 801125590016
23.9 | Follower lever for louver | 1 | 801125590011
23.10 | Louver holder | 1 | 801125590013
23.11 | Guard vane | 10 | 801125590017
24 | Upper horizontal louver | 1 | 801124300007
25 | Down horizontal louver | 1 | 801124300009

## NEO48SC-C
ComfortStar Model Number:NEO48SC-C
Power Supply：208~230V/60Hz/1PH
No. | Part Name | Quantity | PART# | Remark
1 | Right cover | 1 | 801125590025
2 | Left cover | 1 | 801125590027
3 | Right sealplate | 1 | 801125590026
4 | left sealplate | 1 | 801125590028
5 | Right hoisting plate | 1 | 801225590004
6 | Left hoisting pate | 1 | 801225590005
7 | Rat guard | 1 | 801225590018
8 | handle | 4 | 801125590020
9 | Air out frame assy | 1 | 801225590054
9.1 | Horizontal louver，up | 2 | 801125590022
9.2 | Horizontal louver, down | 2 | 801125590023
9.3 | display lamp panel | 1 | 803325590003
9.4 | Installing box for display panel | 1 | 801125590024
9.5 | Foam for air outlet frame | 2 | 802225590001
9.6 | vertical step motor | 1 | 802425400001
9.7 | horizontal step motor 1 | 1 | 802425400002
9.8 | horizontal step motor | 1 | 802425400003
9.9 | display film | 1 | 802025590035
9.10 | endbearing of louver | 4 | 801125590012
9.11 | intermediate bearing of louver | 8 | 801125590015
9.12 | driving lever for louver | 2 | 801125590016
9.13 | follower lever for louver | 2 | 801125590011
9.14 | Louver holder | 2 | 801125590013
9.15 | Guard vane | 12 | 801125590017
10 | Chassis | 1 | 801225590047
11 | left retaining plate | 2 | 801225590024
12 | right retaining plate | 2 | 801225590023
13 | filter snap-gauge | 2 | 801225590022
14 | air inlet grille | 2 | 801125590019
15 | Filter | 4 | 801125590021
16 | top Cover assembly | 1 | 801225590059
17 | electric box cover | 1 | 801225590014
18 | indoor PCB assembly | 1 | 803325190010
18.1 | electric box | 1 | 801225590013
18.2 | indoor PCB | 1 | 803300300865
18.3 | fan capacitor | 2 | 802401100039
18.4 | temperature sensors（indoor ) | 1 | 802300400086
18.5 | temperature sensors (evaporator ) | 1 | 802300400085
18.6 | transformer | 1 | 802300200068
18.7 | terminal | 1 | 802425590010
19 | indoor fan motor | 2 | 802400400304
20 | wheel volute for slim type | 4 | 801225590044
21 | pipe clamp | 1 | 801225590025
22 | left gland for motor shaft sleeve | 2 | 801225590012
23 | right gland for motor shaft sleeve | 2 | 801225590011
24 | Motor separating board | 2 | 801225590009
25 | Holder for fan motor | 2 | 801225590010
26 | weld assembly for intermediate transverse girder | 1 | 801225590041
27 | right mounting plate of evaporator | 1 | 801225590030
28 | evaporator | 1 | 801525190026
29 | shunt capillary assembly | 1 | 801625190017
29.1 | one-way throttle valve | 1 | 801600900043
29.2 | distributor | 1 | 801601300037
30 | air inlet header pipe assembly of evaporator | 1 | 801625190016
30.1 | Single Connector | 1 | 801619900104
31 | left mounting plate of evaporator | 1 | 801225590032
32 | weld assembly of Water drain pan | 1 | 801225590003
32.1 | water outlet rubber cover | 1 | 802725500002
33 | remote controller | 1 | 803300190014

## NEO60SC-C
ComfortStar Model Number:NEO60SC-C
Power Supply：208~230V/60Hz/1PH
No. | Part Name | Quantity | PART# | Remark
1 | Right cover | 1 | 801125590025
2 | Left cover | 1 | 801125590027
3 | Right sealplate | 1 | 801125590026
4 | left sealplate | 1 | 801125590028
5 | Right hoisting plate | 1 | 801225590004
6 | Left hoisting pate | 1 | 801225590005
7 | Rat guard | 1 | 801225590018
8 | handle | 4 | 801125590020
9 | Air out frame assy | 1 | 801225590054
9.1 | Horizontal louver，up | 2 | 801125590022
9.2 | Horizontal louver, down | 2 | 801125590023
9.3 | display lamp panel | 1 | 803325590003
9.4 | Installing box for display panel | 1 | 801125590024
9.5 | Foam for air outlet frame | 2 | 802225590001
9.6 | vertical step motor | 1 | 802425400001
9.7 | horizontal step motor 1 | 1 | 802425400002
9.8 | horizontal step motor | 1 | 802425400003
9.9 | display film | 1 | 802025590035
9.10 | endbearing of louver | 4 | 801125590012
9.11 | intermediate bearing of louver | 8 | 801125590015
9.12 | driving lever for louver | 2 | 801125590016
9.13 | follower lever for louver | 2 | 801125590011
9.14 | Louver holder | 2 | 801125590013
9.15 | Guard vane | 12 | 801125590017
10 | Chassis | 1 | 801225590047
11 | left retaining plate | 2 | 801225590024
12 | right retaining plate | 2 | 801225590023
13 | filter snap-gauge | 2 | 801225590022
14 | air inlet grille | 2 | 801125590019
15 | Filter | 4 | 801125590021
16 | top Cover assembly | 1 | 801225590059
17 | electric box cover | 1 | 801225590014
18 | indoor PCB assembly | 1 | 803325190010
18.1 | electric box | 1 | 801225590013
18.2 | indoor PCB | 1 | 803300300865
18.3 | fan capacitor | 2 | 802401100039
18.4 | temperature sensors（indoor ) | 1 | 802300400086
18.5 | temperature sensors (evaporator ) | 1 | 802300400085
18.6 | transformer | 1 | 802300200068
18.7 | terminal | 1 | 802425590010
19 | indoor fan motor | 2 | 802400400304
20 | wheel volute for slim type | 4 | 801225590044
21 | pipe clamp | 1 | 801225590025
22 | left gland for motor shaft sleeve | 2 | 801225590012
23 | right gland for motor shaft sleeve | 2 | 801225590011
24 | Motor separating board | 2 | 801225590009
25 | Holder for fan motor | 2 | 801225590010
26 | weld assembly for intermediate transverse girder | 1 | 801225590041
27 | right mounting plate of evaporator | 1 | 801225590030
28 | evaporator | 1 | 801525590033
29 | shunt capillary assembly | 1 | 801625590041
29.1 | one-way throttle valve | 1 | 801600900041
29.2 | distributor | 1 | 801601300144
30 | air inlet header pipe assembly of evaporator | 1 | 801625590036
30.1 | Single Connector | 1 | 801619900104
31 | left mounting plate of evaporator | 1 | 801225590032
32 | weld assembly of Water drain pan | 1 | 801225590003
32.1 | water outlet rubber cover | 1 | 802725500002
33 | remote controller | 1 | 803300190014